## 1 Summary reporting - buildings
Building/sub-asset assessment results
Buildings - new-build, refurbishment, masterplans and external works | [7 empty] | KEY | mandatory | optional | n/a | Totals
Notes: Units: Use consistent units appropriate to the specific asset. Can be a multiple of kgCO2e if stated and used consistently, e.g. TCO2e. WLCA Uncertainty Factor: Is not included within data reported on this template. It is included in the figures reported on the Summary Template. Decarbonisation: Tables below are provided for reporting of decarbonised and non-decarbonised figures. Life cycle stages measured by GIA (A5.2, B2, B3, C1): when reporting against building element category, pro rata against the overall A1-A3 values. Small projects (Section 3.8): It is not mandatory to undertake predictive energy modelling, therefore WLCA cannot be completed for these projects. Leave the relevant fields blank. Do not use compliance modelling figures. Carbon conversion for energy: Use Conversion Set 2 for completion of these templates GIA based emissions: Some life cycle stages are calculated on the basis of asset GIA. These are B2-B3, A5.1, A5.2 and C1. It is preferred that the emissions for B2-B3, A5.2 and C1are allocated pro-rata across the building elements but in some cases only an asset level emission may be available. This is indicated by mandatory colour-coding for the elements but optional colour-coding for the asset emission. care should be taken not to double count. A5.1 is only ever calulated as a total asset emission.
Assessment information, energy and water
| Key assessment information |  |  | Energy consumption |  |  |  |  | Energy generation |  |  |  | Water
Description | Life cycle stages included | GIA/ unit | Reference study period/ years | Units | Energy consumption during use (electricity) | Energy consumption during use (gas) | Energy consumption during use (other fuel) | Total energy consumption during use | Renewable energy generated on site | Renewable energy generated that is used on site | Renewable energy generated that is exported to the grid, but then re-imported and used over the course of a year | Excess renewable energy generated that is exported to the grid | Units | Water consumption during use [B7]
Building (new build or aggregrated refurbishment project) |  |  |  | KWh/ yr | [8 empty] | m3/ day
|  |  |  | KWh/ yr/ unit | [8 empty] | m3/ day/ unit
External works within red line boundary |  |  |  | KWh/ yr | [8 empty] | m3/ day
|  |  |  | KWh/ yr/ unit | [8 empty] | m3/ day/ unit
External works outside red line boundary
Totals |  |  |  | KWh/ yr | [8 empty] | m3/ day
|  |  |  | KWh/ yr/ unit | [8 empty] | m3/ day/ unit
Summary of carbon emissions by element and life cycle stage/module (non-decarbonised) | [8 empty] | Columns should be added for each different scenario considered for the asset's use & EoL stages. The scenario name/number should be clearly indicated. * Headings with asterisk denote modules affected by decarbonisation.
Note: For a refurbishment project the upper rows of this table would be completed twice - for the refubished GIA and new build GIA, the results would then be aggregated when reporting for the overall assete. For a masterplan project complete a version for each individual asset and report the total external works separately.
Building elements |  | Carbon per life cycle stage - non-decarbonised | [20 empty] | Grouped life cycle stages - non-decarbonised
|  | A0 Pre-construction stage | [A1-A3] Product stage excl. sequestered carbon | [A1-A3] Sequestered carbon within installed materials/ products | [A4] Transport to and from site | [A5] [A5.1-A5.3] Pre-construction demolition, construction activities and waste management | [A5.4] Transport of construction workers | [B1.1] In-use emissions & removals materials & carbonation | [B1.2] * In-use emissions & removals Refrigerant leakage | [B2-B3] Maintenance and repair | [B4] * Replacement | [B5] * Refurbishment/ planned changes excl. sequestration (where relevant) | [B5] Sequestered carbon related to refurbishment/ planned changes (where relevant) | [B6] * [B6.1-B6.3] Energy use | [B7] * [B7.1-B7.3] Water use | [B8] * User activities | [C1] * Deconstruction/demolition process | [C2] * Transport to waste processing or disposal facilities | [C3] Waste processing for reuse, recycling and/or energy recovery and disposal | [C4] Waste disposal | D1 * Potential net benefits/loads from reuse, recycling, energy recovery and/ or other recovery | D2 * Potential benefits/loads from exported utilities | Upfront embodied carbon exc sequestration [A1-A5] kgCO2e | Upfront embodied carbon exc sequestration [A1-A5] kgCO2e/m2 | Upfront embodied carbon sequestered [A1-A5] kgCO2e | Upfront embodied carbon sequestered [A1-A5] kgCO2e/m2 | Total operational carbon [B6, B7, B8] kgCO2e | Total operational carbon [B6, B7, B8] kgCO2e/m2 | Whole life embodied carbon [A-C] excl. [B6, B7, B8] kgCO2e | Whole life embodied carbon [A-C] excl. [B6, B7, B8] kgCO2e/m2 | Whole life carbon [A-C] kgCO2e | Whole life carbon [A-C] kgCO2e/m2 | Whole life carbon [A-C] kgCO2e/m2
Asset level emissions
0.1 Demolition works
0.2 Facilitating works
1 Substructure
2 Superstructure - Structural elements
2 Superstructure - Building envelope
2 Superstructure - Internal elements
3 Finishes
4 Fittings, furnishings and equipment (FF&E)
5 Services (MEP)
6 Pre-fabricated buildings and units
7 Works to existing buildings
Sub-total | kgCO2e | [21 empty] | Totals reported using project summary template
8 External works associated with the project (within boundary)
8 External works associated with the project (outside of boundary)
Total | kgCO2e | [21 empty] | Totals reported using project summary template
Summary of carbon emissions by element and life cycle stage/module (decarbonised) | [8 empty] | Columns should be added for each different scenario considered for the asset's use & EoL stages. The scenario name/number should be clearly indicated. * Headings with asterisk denote modules affected by decarbonisation.
Note: For a refurbishment project the upper rows of this table would be completed twice - for the refubished GIA and new build GIA, the results would then be aggregated when reporting for the overall asset. For a masterplan project complete a version for each individual asset and report the total external works separately.
Building elements |  | Carbon per life cycle stage - decarbonised | [20 empty] | Grouped life cycle stages - decarbonised
|  | A0 Pre-construction stage | [A1-A3] Product stage excl. sequestered carbon | [A1-A3] Sequestered carbon within installed materials/ products | [A4] Transport to and from site | [A5] [A5.1-A5.3] Pre-construction demolition, construction activities and waste management | [A5.4] Transport of construction workers | [B1.1] In-use emissions & removals materials & carbonation | [B1.2] * In-use emissions & removals Refrigerant leakage | [B2-B3] Maintenance and repair | [B4] * Replacement | [B5] * Refurbishment/ planned changes excl. sequestration (where relevant) | [B5] Sequestered carbon related to refurbishment/ planned changes (where relevant) | [B6] * [B6.1-B6.3] Energy use | [B7] * [B7.1-B7.3] Water use | [B8] * User activities | [C1] * Deconstruction/demolition process | [C2] * Transport to waste processing or disposal facilities | [C3] Waste processing for reuse, recycling and/or energy recovery and disposal | [C4] Waste disposal | D1 * Potential net benefits/loads from reuse, recycling, energy recovery and/ or other recovery | D2 * Potential benefits/loads from exported utilities | Upfront embodied carbon exc sequestration [A1-A5] kgCO2e | Upfront embodied carbon exc sequestration [A1-A5] kgCO2e/m2 | Upfront embodied carbon sequestered [A1-A5] kgCO2e | Upfront embodied carbon sequestered [A1-A5] kgCO2e/m2 | Total operational carbon [B6, B7, B8] kgCO2e | Total operational carbon [B6, B7, B8] kgCO2e/m2 | Whole life embodied carbon [A-C] excl. [B6, B7, B8] kgCO2e | Whole life embodied carbon [A-C] excl. [B6, B7, B8] kgCO2e/m2 | Whole life carbon [A-C] kgCO2e | Whole life carbon [A-C] kgCO2e/m2 | Whole life carbon [A-C] kgCO2e/m2
Asset level emissions
0.1 Demolition works
0.2 Facilitating works
1 Substructure
2 Superstructure - Structural elements
2 Superstructure - Building envelope
2 Superstructure - Internal elements
3 Finishes
4 Fittings, furnishings and equipment (FF&E)
5 Services (MEP)
6 Pre-fabricated buildings and units
7 Works to existing buildings
Sub-total | kgCO2e | [21 empty] | Totals reported using project summary template
8 External works associated with the project (within boundary)
8 External works associated with the project (outside of boundary)
Total | kgCO2e | [21 empty] | Totals reported using project summary template

## 2 ConceptReportingReqs_Building
Granularity level 1 reporting - early/ concept design stages
Buildings - new build, refurbishment, masterplans and external works
Carbon emissions by building element and life cycle stage/module - granularity level 1
KEY
mandatory |  | Note: Users must complete two versions of this sheet to cover decarbonised and non-decarbonised scenarios
optional |  | * denotes life cycle stages afected by decarbonisation
not applicable
Granularity Level 1 Early/ concept design stages all units to be kgCO2e | A0 Pre-construction stage (optional, include if significant) | A1-A3 Sequestered carbon within installed materials/products (benefit - assumed negative figure) | A1-A3 Product stage (exc sequestered carbon) | A4 Transport to and from site | A5.1-4 Pre-construction demolition (A5.4 Transport of workers is optional) | B1.1 In use emissions and removals (carbonation and materials) | B1.2 * Fugitive emissions (refrigerants) | B2-B3 * Maintenance and repair | B4 * Replacement | B5 * Refurbishment/ planned change (where relevant) | B5 Sequestration related to planned refrubishment (eg added or removed material.) | B6.1-B6.3 Regulated and un-regulated energy in-use | B7.1 * Water used by essential building- integrated systems | B7.2 * Water used by other building-integrated systems (recommended but optional) | B7.3 * Water used by non-building integrated systems (optional) | B8.1-B8.2 * User activities energy-related and other impacts (optional) | C1 * Deconstruction/ demolition process | C2 * Transport to waste processing or disposal facilities | C3 Waste processing for reuse, recycling and/ or energy recovery | C4 Waste disposal | D1 * Potential net benefits/ loads from reuse, recycling, energy recovery and/ or other recovery | D2 * Potential benefits and loads from exported utilities
Whole entity (anything that can't be broken down into more detail then the whole asset)
Pre-construction - whole development
Site emissions - whole development
Emissions associated with energy in-use and renewable generation - building
Emissions associated with energy in-use and renewable generation - external works (within project boundary)
Water in-use - building
Water in-use - external works (within project boundary)
User carbon - whole development
Carbon emissions where they can be broken down into elements
0.1 Treatment and demolition works Facilitating works
1 Sub-structure
Super structure 2.1 Frame 2.2 Upper floors 2.3 Roof 2.4 Stairs and ramps
Super structure 2.5 External envelope including roof finishes 2.6 Windows and ext doors
Super structure 2.7 Internal walls and partitions 2.8 Internal doors
3 Finishes
4 FF&E
5.1 Public Health
5.2 Heating, Ventilation and Cooling (HVAC)
5.3 Electrical insatllations
5.4 On site renewable energy generation
5.5 Systems including life safety, fuel installations, lift and conveyor installations, services equipment, disposal installations, specialist installations, builders work in connection with services
6 Pre-fabricated buildings and units
7 Works to existing buildings
8 External works (within the site boundary)
8 External works (outside the site boundary)
Sub-totals kgCO2e

## 3 DetailedRptg_Gran2
Granularity levels 2 and 3 reporting - technical to post-completion
Buildings - new build, refurbishment, masterplans and external works
Carbon emissions by building element and life cycle stage/module - granularity level 2
KEY
mandatory |  | Note: Users must complete two versions of this sheet to cover decarbonised and non-decarbonised scenarios
optional |  | * denotes life cycle stages afected by decarbonisation
not applicable
Granularity Level 1 Early/ concept design stages all units to be kgCO2e | Granularity Level 2 Technical design, construction stages, post completion and in-use stages (if not using Granularity 3) | A0 Pre-construction stage (optional, include if significant) | A1-A3 Sequestered carbon within installed materials/ products (benefit - assumed negative figure) | A1-A3 Product stage (exc sequestered carbon) | A4 Transport to and from site | A5.1 Pre-construction demolition including waste and waste management of those acitivites | A5.2 Construction activities | A5.3 Waste & waste management | A5.4 Transport of construction workers (optional, include if significant | B1.1 In use emissions and removals (carbonation and materials) | B1.2 * Fugitive emissions (refrigerants) | B2-B3 * Maintenance and repair | B4 * Replacement | B5 * Refurbishment/ planned change (where relevant) | B5 Sequestration related to planned refrubishment (eg added or removed material | B6.1-B6.3 * Regulated and un-regulated energy in-use | B7.1 Water used by essential building- integrated systems | B7.2 * Water used by other building-integrated systems (recommended but optional) | B7.3 * Water used by non-building integrated systems (optional) | B8.1 * User activities energy-related impacts (optional) | B8.2 * User activities other impacts (optional) | C1 * Deconstruction/demolition process | C2 * Transport to waste processing or disposal facilities | C3 Waste processing for reuse, recycling and/ or energy recovery | C4 Waste disposal | D1 * Potential net benefits/loads from reuse, recycling, energy recovery and/ or other recovery | D2 * Potential benefits and loads from exported utilities
Whole entity - (anything that can't be broken down into more detail than the whole asset)
Pre-construction - whole development | Pre-construction - whole development
Site emissions - whole development | Site emissions - whole development
Emissions associated with energy in-use and renewable generation - building | Emissions associated with energy in-use and renewable generation - building
Emissions associated with energy in-use and renewable generation - external works (within project boundary) | Emissions associated with energy in-use and renewable generation - external works (within project boundary)
Water in-use - building | Water in-use - building
Water in-use - external works (within project boundary) | Water in-use - external works (within project boundary)
User carbon - whole development | User carbon - whole development (not used for buildings)
Carbon emissions where they can be broken down into elements
0.1 Treatment and demolition works Facilitating works | 0.1.1 Toxic/ contaminated material treatment Demolition works
0.1.2 Facilitating works
1 Sub-structure | 1.1 Foundations and piling
1.2 Basement retaining walls and lowest slab
2 Super structure 2.1 Frame 2.2 Upper floors 2.3 Roof 2.4 Stairs and ramps | 2.1 Frame
2.2 Upper Floors and roof (2.3)
2.4 Stairs, ramps and safety guarding
Super structure 2.5 External envelope including roof finishes 2.6 Windows and ext doors | 2.5 External envelope including roof finishes
2.6 Windows and ext doors
Super structure 2.7 Internal walls and partitions 2.8 Internal doors | 2.7 Internal walls
2.8 Internal doors
3 Finishes | 3.1 Wall finishes
3.2 Floor finishes
3.3 Ceiling finishes
4 FF&E | 4 FF&E
5.1 Public health | 5.1.1 Sanitaryware
5.1.2 Cold water systems
5.1.3 Drainage and rainwater
5.2 Heating, Ventilation and Cooling (HVAC) | 5.2.1 Space heating and hot water
5.2.2 Dedicated cooling installations
5.2.3.1 Air movement
5.2.4 Ventilation air terminals, ductwork and ancillaries, control dampers, attenuation, fire safety related to ventilation equipment
5.3 Electrical installations | 5.3.1 Lighting
5.3.2 Electrical services for power, communications, security, IT and fire detection,
5.4 On site renewable energy generation | 5.4.1 On site renewable energy generation
5.5 Systems including Life safety, Fuel installations, Lift and conveyor installations, Services equipment Disposal installations, Specialist installations, Builders work in connection with services | 5.5.1 Life safety
5.5.2 Fuel installations
5.5.3 Lift and conveyor installations
5.5.4 Specialised and communal waste disposal
5.5.5 Specialist installations & maintenance
5.5.6 Builders work in connection with services
6 Pre-fabricated buildings and units | Pre-fabricated buildings and building units
7 Works to existing buildings | 7 Works to existing buildings
8 External works (within the rpoject boundary) | 8.1 Roads, paths, pavings, surfaces, fencing, railings, walls, external fixtures
8.2 Soft landscape, planting, irrigation
8.3 External drainage External services Minor building works
8 External works (associated with the works outside the boundary) | 8.1 Roads, paths, pavings, surfaces, fencing, railings, walls, external fixtures
8.2 Soft landscape, planting, irrigation
8.3 External drainage, External services, Minor building works
Sub-totals kgCO2e
ADD CONTINGENCY OPTIONAL SCHEDULING TOOL

## 4 DetailedRptg_Gran3 (optional)
Granularity levels 2 and 3 reporting - technical to post-completion
Buildings - new build, refurbishment, masterplans and external works
Carbon emissions by building element and life cycle stage/module - granularity levels 2 and 3
KEY
mandatory |  | Note: Users must complete two versions of this sheet to cover decarbonised and non-decarbonised scenarios
optional |  | * denotes life cycle stages afected by decarbonisation
not applicable
Granularity Level 1 Early/ concept design stages all units to be kgCO2e | Granularity Levels 2 and 3 Technical design, construction stages, post completion and in-use stages (Mandatory reporting at Level 2 in all rows in bold text. Reporting at Granularity Level 3 strongly recommmended at post completetion stage) | A0 Pre-construction stage (optional, include if significant) | A1-A3 Sequestered carbon within installed materials/ products (benefit - assumed negative figure) | A1-A3 Product stage (exc sequestered carbon) | A4 Transport to and from site | A5.1 Pre-construction demolition including waste and waste management of those acitivites | A5.2 Construction activities | A5.3 Waste & waste management | A5.4 Transport of construction workers (optional, include if significant | B1.1 In use emissions and removals (carbonation and materials) | B1.2 * Fugitive emissions (refrigerants) | B2-B3 * Maintenance and repair | B4 * Replacement | B5 * Refurbishment/ planned change (where relevant) | B5 Sequestration related to planned refrubishment (eg added or removed material | B6.1-B6.3 * Regulated and un-regulated energy in-use | B7.1 Water used by essential building- integrated systems | B7.2 * Water used by other building-integrated systems (recommended but optional) | B7.3 * Water used by non-building integrated systems (optional) | B8.1 * User activities energy-related impacts (optional) | B8.2 * User activities other impacts (optional) | C1 * Deconstruction/demolition process | C2 * Transport to waste processing or disposal facilities | C3 Waste processing for reuse, recycling and/ or energy recovery | C4 Waste disposal | D1 * Potential net benefits/loads from reuse, recycling, energy recovery and/ or other recovery | D2 * Potential benefits and loads from exported utilities
Whole entity - (anything that can't be broken down into more detail than the whole asset)
Pre-construction - whole development | Pre-construction - whole development
Site emissions - whole development | Site emissions - whole development
Emissions associated with energy in-use and renewable generation - building | Emissions associated with energy in-use and renewable generation - building
Emissions associated with energy in-use and renewable generation - external works (within project boundary) | Emissions associated with energy in-use and renewable generation - external works (within project boundary)
Water in-use - building | Water in-use - building
Water in-use - external works (within project boundary) | Water in-use - external works (within project boundary)
User carbon - whole development | User carbon - whole development (not used for buildings)
Carbon emissions where they can be broken down into elements
0.1 Treatment and demolition works Facilitating works | 0.1.1.1 Toxic/ contaminated material treatment
0.1.1.2 Demolition works
0.1.1 Toxic/ contaminated material treatment Demolition works
0.1.2.1 Temporary supports
0.1.2.2 Facade retention
0.1.2.3 Specialist groundworks
0.1.2.4 Temporary diversion works
0.1.2.5 Extraordinary site investigations
0.1.2.6 Site preparation
0.1.2 Facilitating works
1 Sub-structure | 1.1 Foundations and piling
1.2.1 Lowest slab
1.2.2 Suspended slabs
1.2.3 Basement retaining walls
1.2 Basement retaining walls and lowest slab
Super structure 2.1 Frame 2.2 Upper floors 2.3 Roof 2.4 Stairs and ramps | 2.1.1 Frame (Vertical) - Columns/ structural walls & braces
2.1.2 Frame (Horizontal) - Beams, joists & braces
2.1 Frame
2.2.1 Upper floor and roof - structural slabs
2.2.2 Upper floor and roof - non-structural slabs
2.2 Upper Floors and roof (2.3)
2.4.1 Stairs
2.4.2 Ramps
2.4.3 Safety and access ladders, chutes, slides and guarding
2.4 Stairs, ramps and safety guarding
Super structure 2.5 External envelope including roof finishes 2.6 Windows and ext doors | 2.5.1 External - opaque walls
2.5.2 External - full height glazing systems
2.5.3 External - roof finishes/ coverings
2.5.4 External - safety systems
2.5 External envelope including roof finishes
2.6.1 Windows - vertical
2.6.2 Windows - roof or horizontal
2.6.3 External doors
2.6 Windows and ext doors
Super structure 2.7 Internal walls and partitions 2.8 Internal doors | 2.7.1 Internal walls - solid
2.7.2 Internal walls - non-structural glazed walls, windows and vision panels
2.7 Internal walls
2.8 Internal doors
3 Finishes | 3.1 Wall finishes
3.2.1 Raised access floor or specialist sprung floors
3.2.2 Non-structural screed
3.2.3 Floor finishes
3.2 Floor finishes
3.3 Ceiling finishes
4 FF&E | 4.1 General FF&E
4.2 Kitchen equipment
4.3 Special equipment
4.4 Loose FF&E
4.5 IT
4.6 Audio and visual
4 FF&E
5.1 Public health | 5.1.1 Sanitaryware
5.1.2.1 Cold water systems
5.1.2.2 Cold water storage
5.1.2 Cold water systems
5.1.3.1 Surface water/ rainwater/ foul water drainage
5.1.3.2 Water reuse systems
5.1.3 Drainage and rainwater
5.2 Heating, Ventilation and Cooling (HVAC) | 5.2.1.1 Heat & Hot water generation equipment
5.2.1.2 Heat & hot water distribution, control, ancillaries, emitters, exchangers/ terminal units
5.2.1.3 Heat storage equipment
5.2.1 Space heating and hot water
5.2.2.1 Cooling generation equipment
5.2.2.2 Cooling emitter, exchangers/ terminal units, ancillaries and control, distribution, storage
5.2.2 Dedicated cooling installations
5.2.3.1 Air movement
5.2.4.1 Air terminals
5.2.4.2 Ductwork & ancilleries
5.2.4.3 Control dampers, attenuation and fIre safety related to ventilation equipment
5.2.4 Ventilation air terminals, ductwork and ancillaries, control dampers, attenuation, fire safety related to ventilation equipment
5.3 Electrical installations | 5.3.1.1 Internal lighting
5.3.1.2 External lighting (building mounted)
5.3.1.3 Emergency lighting
5.3.1.4 Other lighting
5.3.1 Lighting
5.3.2.1 Electrical power
5.3.2.2 ELV/ Communications/ Security
5.3.2.3 IT & Data
5.3.2.4 BMS
5.3.2.5 Electricity back up generation
5.3.2.6 Fire detection & alarm
5.3.2 Electrical services for power, communications, security, IT and fire detection,
5.4 On site renewable energy generation | 5.4.1.1 Renewable energy - Electrical generation onsite and building mounted
5.4.1.2 Renewable energy - Storage onsite
5.4.1 On site renewable energy generation
5.5 Systems including Life safety, Fuel installations, Lift and conveyor installations, Services equipment Disposal installations, Specialist installations, Builders work in connection with services | 5.5.1.1 Sprinkler system
5.5.1.2 Fire fighting systems
5.5.1.3 Lightning protection/earth bonding
5.5.1 Life safety
5.5.2 Fuel installations
5.5.2.2 Lift, stair lift, lifting platform
5.5.2.3 Escalators and moving walkways
5.5.3 Lift and conveyor installations
5.5.4 Specialised and communal waste disposal
5.5.5 Specialist installations & maintenance
5.5.6 Builders work in connection with services
6 Pre-fabricated buildings and units | Pre-fabricated buildings and building units
7 Works to existing buildings | 7.1 Alterations
7.2 Repairs, cleaning, general renovation
7.3 Damp-proof courses/fungus and beetle eradication
7 Works to existing buildings
8 External works (within the project boundary) | 8.1.1 Roads, paths, pavings, surfaces
8.1.2 Fencing, railings, walls
8.1.3 External fixtures
8.1 Roads, paths, pavings, surfaces Fencing, railings, walls External fixtures
8.2 Soft landscape, planting, irrigation
8.3.1 External drainage
8.3.2 External services
8.3.3 Minor building works, ancillary
8.3 External drainage External services Minor building works
8 External works (associated with the works outside the boundary) | 8.1.1 Roads, paths, pavings, surfaces
8.1.2 Fencing, railings, walls
8.1.3 External fixtures
8.1 Roads, paths, pavings, surfaces Fencing, railings, walls External fixtures
8.2 Soft landscape, planting, irrigation
8.3.1 External drainage
8.3.2 External services
8.3.3 Minor building works, ancillary
8.3 External drainage External services Minor building works
Sub-totals kgCO2e
ADD CONTINGENCY OPTIONAL SCHEDULING TOOL

## 5 EnergyNon Resi
Energy reporting
Buildings - non-domestic
Notes: Energy breakdowns: Providing the energy broken down as specified below is optional, as long as all loads are included in the total energy figures.
Energy reporting, non-domestic buildings
Energy use |  |  | Please specify which fuel
Energy breakdown for reporting | Electricity (kWh/yr) | Gas (kWh/yr) | Other fuel (e.g. biomass, oil, etc.) (kWh/yr) | Description of what to include
Heating (B6.1) |  |  |  | Space heating consumption (including out of hours setback back - sometimes called building frost protection). This includes distribution and storage losses.
Air heating (e.g. heating coil in the AHU).
Trace heating and frost protection (this includes energy to keep pipework warm, for example to stop a pipe from freezing or to manage legionella risk as well as frost protection on an AHU).
Heat from communal or district heating. It is important to note that any heat that is exported (i.e. generated in the building but used by other buildings) should not be included.
Domestic hot water heating (B6.1) |  |  |  | Domestic hot water heating (including primary and secondary pipework losses, storage losses).
Cooling (B6.1) |  |  |  | Space cooling (including thermal losses).
Air cooling (e.g. cooling coil in the AHU).
Heat rejection plant - the energy used to reject the heat (i.e. fans and condenser pump) where heat rejection is separate from the compressor (e.g. heat rejection fans at roof level reject heat from a water cooled chiller).
Cooling for motor room, plant room, main equipment room, switch room and landlord server room.
Tenant server room cooling.
De-humidification plant.
Mechanical ventilation (including all fans, filtration and heat recovery) (B6.1) |  |  |  | AHUs and MVHR units (tenant and landlord).
Fan coil unit (or other terminal unit) fans.
Exhaust and extract ventilation (landlord).
Car park ventilation, lift shaft vent fans if used.
Humidification (B6.1) |  |  |  | Humidification plant.
Pumps (B6.1) |  |  |  | Heating: Primary, secondary, tertiary pumps.
Cooling: Primary, secondary, tertiary pumps.
DHW: Primary, secondary, tertiary pumps.
Boosted cold water services, Cat 5 booster set pump energy.
Sewage pumps (for large projects).
Rain and grey water and water treatment pumps.
Lighting (B6.1,2,3) |  |  |  | Internal lighting, lighting controls (parasitic load).
Emergency lighting.
External lighting mounted on the building including car park lighting, external signage.
Other lighting - task lighting, stage/entertainment lighting, display lighting, school sports pitch lighting, retail display lighting, architectural lighting.
Transportation systems in buildings (B6.2) |  |  |  | Lifts energy (motor, lighting, ventilation, controls, etc.).
Escalators and moving walks.
Cooking and catering (B6.2) |  |  |  | Cooking (oven, hobs, fryers).
Refrigeration.
Dishwashers.
Plug loads (B6.2) |  |  |  | Small power, ICT ( not server), cleaners sockets, vending.
Washing machines and dryers.
Plug in AV and Audio systems.
Specialist equipment (B6.3) |  |  |  | Servers (serving the buildings).
Data center energy (serving other different users / companies/ customers).
Process loads.
Laboratory equipment.
Other, for example facade access cradle.
Pools / spa facilities / hydrotherapy.
Specialist medical equipment in hospitals.
Security and controls (B6.2) |  |  |  | Controls and building automation.
Building security systems, CCTV.
Fire detection and alarm.
AV and Audio systems (hard-wired).
Parasitic equipment loads.
Emergency generator use and maintenance hours (B6.3) |  |  |  | Landlord/ life safety generators (energy used for regular testing).
Tenant generators.
Diesel pumps, sump heater.
UPS backup/batteries.
Other uses (B6.2) |  |  |  | Water conditioning and filtration.
Total energy in use in building (kWh/year)
External Lighting (B6.3) |  |  |  | External lighting that is not mounted on the building including car park lighting, external signage.
External works (B6.3) |  |  |  | Energy associated with external services, external drainage, landscape, pumps for fountains, etc.
Total energy in use for external works/lighting (kWh/year)
Total energy in use of the asset (kWh/year)
For projects that have district heating | Thermal demand (kWh/yr)
Heating demand from district heating
Cooling demand from district heating
On site electricity generation (generally PV) | Type 1 | Type 2
Technology used
Electricity generation breakdown for reporting | Electricity (kWh/yr) | Electricity (kWh/yr)
Renewable energy generated that is used on site
Renewable energy generated that is exported to the grid, but then re-imported and used over the course of a year
Exported excess renewable energy generated that is exported to the grid

## 6 EnergyResi
Energy reporting
Buildings - domestic
Notes: Energy breakdowns: Providing the energy broken down as specified below is optional, as long as all loads are included in the total energy figures.
Energy reporting, domestic buildings
Energy use |  |  | Please specify which fuel
Energy breakdown for reporting | Electricity (kWh/yr) | Gas (kWh/yr) | Other fuel (e.g. biomass, oil, etc.) (kWh/yr) | Description of what to include
Heating (B6.1) |  |  |  | Space heating consumption (including out of hours setback back - sometimes called building frost protection). This includes distribution and storage losses.
Air heating (e.g.heating coil in the AHU).
Trace heating and frost protection (this includes energy to keep pipework warm for example to stop a pipe from freezing or to manage legionella risk as well as frost protection on an AHU).
Heat from communal or district heating. It is important to note that any heat that is exported (i.e. generated in the building but used by other buildings) should not be included.
Domestic hot water heating (B6.1) |  |  |  | Domestic hot water heating (including primary and secondary pipework losses, storage losses).
Cooling (B6.1) |  |  |  | Space cooling (including thermal losses).
Air cooling (e.g.cooling coil in the AHU).
Heat rejection plant -The energy used to reject the heat (ie fans and condenser pump) where heat rejection is separate from the compressor (e.g. heat rejection fans at roof level reject heat from a water cooled chiller).
Cooling for motor room, plant room, main equipment room, switch room and- landlord server room.
Tenant server room cooling.
De-humidification plant.
Mechanical ventilation (including all fans, filtration and heat recovery) (B6.1) |  |  |  | AHUs and MVHR units.
Fan coil unit (or other terminal unit) fans.
Exhaust and extract ventilation.
Car park ventilation, lift shaft vent fans if used.
Pumps (B6.1) |  |  |  | Heating: Primary, secondary, tertiary pumps.
Cooling: Primary, secondary, tertiary pumps.
DHW: Primary, secondary, tertiary pumps.
Boosted cold water services, Cat 5 booster set pump energy.
Sewage pumps (for large projects).
Rain and grey water and water treatment pumps.
Lighting (B6.1,2,3) |  |  |  | Internal lighting, lighting controls (parasitic load).
Emergency lighting.
External lighting mounted on the building including car park lighting, external signage.
Transportation systems in buildings (B6.2) |  |  |  | Lifts energy (motor, lighting, ventilation, controls, etc.).
Plug loads (B6.2) |  |  |  | Small power, ICT (not server), cleaners sockets, vending.
Washing machines and dryers.
Security and controls (B6.2) |  |  |  | Controls and building automation.
Building security systems, CCTV.
Fire detection and alarm.
Other uses (B6.2) |  |  |  | Water conditioning and filtration.
Total energy in use in building (kWh/yr.)
External Lighting (B6.3) |  |  |  | External lighting that is not mounted on the building including car park lighting, external signage
External works (B6.3) |  |  |  | Energy associated with external services, external drainage, landscape, pumps for fountains etc.
Total energy in use for external works/lighting (kWh/yr.)
Total energy in use of the asset (kWh/yr.)
For projects that have district heating | Thermal demand (kWh/yr)
Heating demand from district heating
Cooling demand from district heating
On site electricity generation (generally PV) | Type 1 | Type 2
Technology used
Electricity generation breakdown for reporting | Electricity (kWh/yr) | Electricity (kWh/yr)
Renewable energy generated that is used on site
Renewable energy generated that is exported to the grid, but then re-imported and used over the course of a year
Exported excess renewable energy generated that is exported to the grid

## 7 Water
Water reporting
Buildings - new build, refurbishments and master plans
Water reporting
Water consumption of the asset | B7.1 Water used by integrated systems | B7.2 Water used by other systems | B7.3 Water used by non-building integrated systems | Total
| m3 per day | m3 per day | m3 per day | m3 per day
Water in-use - building |  |  | n/a
Water in-use - external works