## Reporting reqs by sub-asset
Reporting requirements
Infrastructure assets/civil engineering works
Notes | Fill out the carbon and energy tables below for each sub-asset that is part of the project/asset under assessment.
All elements from those listed below that are applicable to the asset/sub-asset to be included and reported.
Scope of built asset elements included should remain the same across progressive WLCAs throughout project development and use to ensure comparability of results.
Sequestered carbon and any other removals (e.g. carbonation) need to be reported as negative figures.
Headings key | mandatory | optional | totals/subtotals | * Headings with asterisk denote modules affected by decarbonisation.
Carbon emissions by element category and life cycle stage for infrastructure assets
Asset elements |  | ICMS3 Level 4 Code | [A0] Pre-construction stage | [A1-A3] Product stage excl. sequestered biogenic carbon | [A1-A3] Sequestered biogenic carbon within installed materials/ products | [A4] Transport to and from site | [A5.1] Pre-construction demolition incl. waste & waste mgmt | [A5.2] Construction activities | [A5.3] Waste & waste management | [A5.4] Transport of construction workers | [B1.1] In-use emissions & removals (materials, carbonation, etc.) | [B1.2] In-use fugitive emissions from refrigerant leakage non-decarbonised | [B1.2] * In-use fugitive emissions from refrigerant leakage decarbonised | [B2-B3] Maintenance and repair | [B4] Replacement non-decarbonised | [B4] * Replacement decarbonised | [B5] Refurbishment/ planned changes (where relevant) excl. sequestration non-decarbonised | [B5] Sequestered biogenic carbon related to refurbishment/ planned changes (where relevant) | [B5] * Refurbishment/ planned changes (where relevant) excl. sequestration decarbonised | [B6.1] Energy use by regulated building-integrated systems non-decarbonised | [B6.1] * Energy use by regulated building-integrated systems decarbonised | [B6.2] Enrgy use by unregulated building-integrated systems non-decarbonised | [B6.2] Enrgy use by unregulated building-integrated systems decarbonised | [B6.3] Other energy use by non building-integrated systems non-decarbonised | [B6.3] * Other energy use by non building-integrated systems decarbonised | [B7] Water use non-decarbonised | [B7] * Water use decarbonised | [B8] User activities non-decarbonised | [B8] * User activities decarbonised | [C1] Deconstruction/ demolition process non-decarbonised | [C1] * Deconstruction/ demolition process decarbonised | [C2] Transport to waste processing or disposal facilities non-decarbonised | [C2] * Transport to waste processing or disposal facilities decarbonised | [C3] Waste processing for reuse, recycling and/or energy recovery | [C4] Waste disposal | [D1] Potential net benefits/loads from reuse, recycling, energy recovery and/or other recovery non-decarbonised | [D1] * Potential net benefits/loads from reuse, recycling, energy recovery and/or other recovery decarbonised | [D2] Potential benefits/loads from exported utilities non-decarbonised | [D2] * Potential benefits/loads from exported utilities decarbonised
Granularity Level 1 - high level Minimum level of results breakdown for reporting in early phases: Strategic/concept design, brief, preliminary studies, etc. ----- ICMS 3 Group description | Granularity Level 2 - Detailed Minimum level of results breakdown for reporting in developed/technical design phases and at project completion ----- ICMS 3 Sub-group description
01 Demolition, site preparation and formation | Site survey and ground investigation | 01.010
| Environmental treatment | 01.020
| Demolition of existing structures and support to adjacent structures | 01.050
| Site surface clearance (clearing, grubbing, topsoil stripping, tree felling, minor earthwork, removal) | 01.060
| General site formation and slope treatment (including embankments/cuttings) | 01.080
| Temporary surface drainage and dewatering | 01.090
| Temporary protection, diversion & relocation of and connection to public utilities | 01.110
| Excavation (of soft silt, peat, sands, gravels, clay, rock, etc.) | 01.640
| Dredging (of soft silt, peat, sands, gravels, clay, rock, etc.) | 01.650
| Special disposal and treatment of contaminated materials | 01.660
| Reclamation or filling (with imported rock, concrete, or other hard materials) | 01.670
Sub-total
02 Substructure | Embankments/cuttings | 02.010
| Excavation, disposal and lateral supports (specifically to receive any substructure construction but excluding general site formation and slope treatment) | 02.020
| Geotextile or other geomembranes | 02.025
| Trenching/common trenches | 02.030
| Drilling/boring | 02.040
| Piling/anchoring | 02.050
| Structural backfill/ground remediation | 02.060
| Earth-retaining structures | 02.070
| Abutments/wing walls | 02.080
| Pile caps/footings/bases | 02.090
| Sub-base to pavements and rail track structures | 02.100
| Bases to supports for tanks, pipes, well heads, etc. | 02.110
| Beds and surrounds to underground pipes | 02.120
| Pile retaining walls (combi walls/H-pile walls/secant piled walls/sheet piled walls/gravity quay walls/relieving structures/pile supported structures/special types) | 02.600
| Diaphragm walls | 02.610
| Quays/docks/wharfs/moorings/piers/dry dock structure foundations | 02.620
| Marine anchor systems | 02.630
| Mooring dolphins | 02.640
| Breakwaters (Cores/primary armour/secondary armour) | 02.650
| Rock revetments/gabions | 02.660
| Cofferdams | 02.670
| Bank protection | 02.680
Sub-total
03 Structure | Piers and towers | 03.010
| Suspension system | 03.020
| Decks | 03.030
| Bearings | 03.040
| Tunnel/shaft lining | 03.050
| Roads/track bases | 03.060
| Pavements | 03.070
| Service roads and approaches | 03.080
| Parapets/edge treatment | 03.090
| Main structures | 03.100
Blindings
Slabs
Beams
Columns
Walls
| Service stations and houses for district utility services | 03.105
| Tanks, rigs, storage containers, etc. | 03.110
| Supports for tanks, pipes, etc. | 03.120
| Civil pipework | 03.130
| Valves and fittings | 03.140
| Seawalls | 03.600
| Lake and river lining | 03.610
| Prefabricated marine structures – off-site fabrication | 03.620
| Slipways/gangways/linkways | 03.650
| Dock and lock gates | 03.660
| Pontoons | 03.670
| Coastal protection systems | 03.680
| Deck/surface structures (ground bearing or suspended concrete slabs) | 03.690
| Locks and guidance structures | 03.700
| Revetments | 03.710
| Flood defences | 03.720
| Navigational aids | 03.730
| Dry docks structures | 03.740
| Weirs | 03.750
| Aqueducts | 03.760
Sub-total
04 Non-structural works | Non-structural removal and alterations | 04.010
| Non-structural construction | 04.020
| Running surface | 04.030
| Signage, markings, etc. | 04.040
| Gantries, etc. | 04.050
Sub-total
05 Services & equipment | District heating, ventilating and cooling systems | 05.005
| Mechanical systems | 05.010
| Lighting systems | 05.020
| Low-voltage power supply | 05.040
| Cables/cable trays | 05.050
| Other electrical services | 05.060
| Control systems and instrumentation • signalling systems • telecommunications systems | 05.070
| Pipe racks / supports (localised) | 05.080
| Water supply | 05.090
| Refuse and waste disposal systems | 05.100
| Fire services | 05.110
| Gas services | 05.115
| Movement systems: lifts/elevators/conveyors | 05.120
| Boat lifts | 05.600
| Cranes/rigs/rails | 05.610
| Under water/sea service pipe installation | 05.620
| Under water/sea electrical/data cabling | 05.630
Sub-total
06 Surface and underground drainage | Surface water drainage | 06.010
| Storm water drainage | 06.020
| Foul and waste water drainage | 06.030
| Pumping systems | 06.040
Sub-total
07 External and ancillary works | Site enclosures and divisions | 07.010
| Ancillary structures | 07.020
| Roads and paving (not amounting to a separate project) | 07.030
| Landscaping (hard and soft) | 07.040
Sub-total
08 Preliminaries ¦ Constructors’ site overheads Temporary works | Temporary access roads and storage areas, traffic management and diversion | 08.020
| Temporary concrete batching yard, precast concrete casting yard | 08.025
| Temporary site fencing and securities | 08.030
| Bespoke plant and equipment - specifically fabricated for the project) e.g. Tunnel Boring Machines (TBMs), ships/barges/vessels, floating cranes, dredgers and drill rigs, cofferdams, caissons, etc.) | 08.045
| Workpeople living accommodation | 08.055
| Other temporary facilities and services | 08.060
Sub-total
12 Production and loose furniture, fittings and equipment | Fixed production, process and operating furniture, fittings and equipment installed before completion | 12.020
Sub-total
Total
Energy reporting for infrastructure assets
Annual sub-asset energy use (final energy) |  | Electricity (KWh/yr) | Natural gas (KWh/yr) | Other fuel please specify | Total annual energy use |  | Annual total imported final energy Total energy use - asset generated energy used onsite
[5 empty] | KWh/yr | KWh/yr/unit
Total energy use - Built asset ('shell') Sum of [B.6.1]+[B.6.2]+[B.6.3]
Total energy use - Service provided/user-related [B.8] | [6 empty] | KWh/yr | KWh/yr/unit
Total energy use Sum of [B.6.1]+[B.6.2]+[B.6.3]+[B.8]
Annual sub-asset energy generation
Asset-generated energy - Built asset [B.6]
Asset-generated energy - service provided/user-related [B.8]
Total sub-asset-generated energy Sum of [B.6]+[B.8]
Note on B58: More detailed breakdown based of structures on CESMM4 ======
Note on B59: More detailed breakdown based of structures on CESMM4 ======
Note on B60: More detailed breakdown based of structures on CESMM4 ======
Note on B61: More detailed breakdown based of structures on CESMM4 ======
Note on B62: More detailed breakdown based of structures on CESMM4 ======
Note on B87: To be included only when a permanent component of an asset, rather than an enabler to its construction ======
Note on B88: To be included only when a permanent component of an asset, rather than an enabler to its construction ======
Note on B104: To be included only when a permanent component of an asset, rather than an enabler to its construction ======
Note on C118: incl. 01.100 ======
Note on C120: incl. 01.040 ======